## Slide 1
Radio Frequency Potential Measurement – CE102
EMC Compliance,
Huntsville, AL
cyclotron

## Slide 2
Measurement System Integrity Check, Low Frequency
Radio Frequency Potential Measurement – CE102

## Slide 3
Measurement System Integrity Check, Low Frequency
Radio Frequency Potential Measurement – CE102

## Slide 4
2 MHz measurement system check set-up
Radio Frequency Potential Measurement – CE102

## Slide 5
2 MHz measurement system check set-up close-up
Radio Frequency Potential Measurement – CE102

## Slide 6
The Basics
Faraday’s Law: a time changing magnetic field causes an electric field
Ampere’s Law: a time changing electric field causes a magnetic field
Equations for wave: traveling electromagnetic energy
c = 1/√με
Radio Frequency Potential Measurement – CE106
Must protect high power transmitter against mismatch

## Slide 7
EMC Compliance,
Huntsville, AL
Measurement must be within l/10 of point-of-interest
Important points:
Only changing fields (hence currents and potentials) can cause radiation
Both electric and magnetic fields (and thus both circuit potentials and currents) must be present to cause radiation
WSM - AM 650
50,000 Watts
Nashville, TN

## Slide 8
Audio Frequency Current Measurement
CE101* measurement system integrity check

## Slide 9
Audio Frequency Current Measurement
CE101* measurement system integrity check

## Slide 10
94106-1 100 kHz – 450 MHz
Different Calibration Fixtures Cover Different Frequency Ranges
Even more important approaching 1 GHz

## Slide 11
Different Probes For Different Purposes
Honeywell 3892

## Slide 12
Different Probes For Different Purposes
Honeywell 3892
Filter out
Filter in

## Slide 13
Different Probes For Different Purposes – CE01
Honeywell 3892
91197-1
CE01

## Slide 14
Different Probes For Different Purposes – CE03
91550-1
91550-2

## Slide 15
Different Probes For Different Purposes – CS115
CS115
94430-2
1/p(30 ns) = 10.6 MHz
1/p(2 ns) = 160 MHz

## Slide 16
Different Probes For Different Purposes – Inrush Current
Inrush Current
Pearson Model 3525
Differential measurement!

## Slide 17: Different Probes For Different Purposes – RS01
Monitor coil current

## Slide 18: Different Probes For Different Purposes – RS01
Monitor coil current

## Slide 19
LISN Calibration
MIL-STD-461 50 uH LISN
10 kHz – 10 MHz

## Slide 20
LISN Calibration
MIL-STD-461 50 uH LISN
10 kHz – 10 MHz

## Slide 21
LISN Calibration
MIL-STD-461 50 uH LISN
10 kHz – 10 MHz

## Slide 22
LISN Calibration

## Slide 23
LISN Calibration
26 dB pad matches current probe -26 dB Ohm ZT 10 k – 10 MHz

## Slide 24
50 uH LISN Impedance 10 kHz – 10 MHz

## Slide 25
LISN Calibration
100 kHz – 100 MHz
10 dB pads on both LISN & current probe
91550-2

## Slide 26
50 uH LISN Impedance 100 kHz – 100 MHz
10 MHz

## Slide 27
5 uH LISN Calibration
150 kHz – 100 MHz
(0.1 uF blocking cap transparent at 150 kHz and up)
10 dB pads on both LISN & current probe
91550-2

## Slide 28
5 uH LISN Calibration
150 kHz – 100 MHz
10 dB pads on both LISN & current probe
91550-2
ZT = 1 Ohm
100 k – 100 MHz

## Slide 29
5 uH LISN Impedance 150 kHz – 100 MHz
30 MHz