## Slide 1
Pre-amp Calibration
R
S
T
T/R
Network analyzer
splitter
Pre-amp
At what level should source be set?

## Slide 2
Amplifier Gain as a function of input level

## Slide 3
Amplifier Gain Measurement
Test Set-Up

## Slide 4
Amplifier Gain Measurement

## Slide 5: Electric Field Measurements Using an Electrically Short Whip
-462 Notice 2 through -461E
-461F

## Slide 6
What We Want

## Slide 7
Effect of perfectly grounding the counterpoise
E = V/d
E’ = V/d’
V = 2 Volts
d = 2 meters
E = 2 V / 2 m = 1 V/m
0.4 m
0.4 m
0.6 m
0.6 m
1 V/m * 1.6 m = 1.6 V
1 V/m * 0.6 m = 0.6 V
DVrod = 1.6 V – 0.6 V = 1 V
Vbase = ½ (Dvrod) = 0.5 V
0 V
1.4 V/m * 1 m = 1.4 V
DVrod = 1.4 V – 0 V = 1.4 V
Vbase = ½ (Dvrod) = 0.7 V
V = 2 Volts
d’ = 1.4 meters
E’ = 2 V / 1.4 m = 1.4 V/m
40% error; 3 dB

## Slide 8: Electrically short probe physics necessary to understand calibration technique
For the 41” rod, the capacitive source impedance is the reactance of 10 pF.
In order to get useful output at low frequencies, the capacitance must be either tuned out or the load must be a near open-circuit.

## Slide 9
Electric Field Measurements Using an Electrically Short Whip
Two Kinds of Matching Networks – Active and Passive

## Slide 10
41” Rod and Calibration Thereof

## Slide 11
41” Rod and Calibration Thereof