## Slide 1
Measuring VSWR – checking an antenna balun

## Slide 2
Magnetic Field Measurement
RE01
RE04
Walker Scientific VLF-80D

## Slide 3
Magnetic Field Measurement
RE01
RE04
Walker Scientific VLF-80D
36 turns on 5.25” coil form
Simple Faraday Law coupling: V = -dF/dt

## Slide 4
Magnetic Field Measurement
RE01
RE04
Walker Scientific VLF-80D

## Slide 5: 5.16 RE101, Audio Frequency Magnetic Emissions
WARNING! WARNING!

## Slide 6: Loop instrumentation issue: sensitivity
57
47
37
27
17
07
-3
–
=
R&S ESU noise floor
R&S ESU noise floor

## Slide 7
Loop Alternative (Best Performance): Variable-m magnetometer
EMCO 6640, 1964
Electro-Metrics EM-7530, today

## Slide 8
Loop Alternative (Best Performance): Variable-m magnetometer
Electro-Metrics EM-7530
Room “ambient” using RE01 loop
Room “ambient” using EM-7530

## Slide 9
Loop Alternative (Better Performance, lower cost): mag field meter
Walker Scientific VLF-80D (or equivalent)
With HP 8566, will do Space Station, but not (old, obsolete) Space Shuttle limit